# Flood Monitoring System – Data Dictionary

Table of Contents

Table: ALERT	2

Table: ALERT_RULE	3

Table: STATION	5

Table: SENSOR	6

Table: SENSOR_TYPE	7

Table: MEASUREMENT	7

Table: FLOOD_EVENT	8

Table: EVENT_IMPACT	10

Table: MODEL_RUN	11

Table: MODEL_INPUT	12

Table: MODEL_OUTPUT	13

Table: DATA_SOURCE	15

Table: INGEST_JOB	16

Table: INGEST_ERROR	17

Table: NOTIFICATION	18

Table: ROLE	19

Table: USER	20

Table: USER_AREA_SUBSCRIPTION	21

Table: USER_SESSION	22

Table: AUDIT_LOG	23

Table: GEOGRAPHICAL_AREA	24

# Table: ALERT

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AlertID | bigint | No | PK | — | Primary Key | Unique identifier for each alert event. | Auto-generated; immutable once created. |
| AlertRuleID | int | No | FK | — | FK → ALERT_RULE (AlertRuleID, StationID) | References the alert rule that triggered the alert. | Must match existing composite rule with same StationID. |
| StationID | int | No | FK | — | FK → ALERT_RULE (AlertRuleID, StationID) | Monitoring station where alert originated. | Must correspond to same station defined in alert rule. |
| UserID | int | No | FK | — | FK → USER(UserID) | User associated with the alert. | Must reference an existing active user. |
| TriggeredAt | datetime2 | No | — | sysutcdatetime() | Default constraint | UTC timestamp when alert was triggered. | System-generated at insert time. |
| Severity | nvarchar(20) | No | — | — | CHECK (LOW, MEDIUM, HIGH, CRITICAL) | Severity classification of alert. | Must match predefined domain values. |
| Status | nvarchar(30) | No | — | — | CHECK (TRIGGERED, ACKNOWLEDGED, RESOLVED, FALSE_POSITIVE) | Current lifecycle state of alert. | Controls workflow progression. |
| Summary | nvarchar(1000) | Yes | — | — | — | Human-readable short description. | Optional but recommended for operational clarity. |
| DetailsJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Structured metadata for alert context. | Must be valid JSON if provided. |
| AcknowledgedAt | datetime2 | Yes | — | — | — | Timestamp when alert was acknowledged. | Must be ≥ TriggeredAt if populated. |

# Table: ALERT_RULE

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AlertRuleID | int | No | PK | — | Primary Key | Unique identifier for an alert rule. | System-generated; uniquely identifies rule logic. |
| StationID | int | No | FK | — | FK → STATION(StationID) | Station to which the rule applies. | Rule is scoped to a single station. |
| AreaID | int | No | FK | — | FK → GEOGRAPHIC_AREA(AreaID) | Geographic area associated with the rule. | Must correspond to the station’s area. |
| RuleName | nvarchar(120) | No | — | — | — | Human-readable name of the alert rule. | Should be unique per station (logical uniqueness). |
| Metric | nvarchar(80) | No | — | — | — | Metric being evaluated (e.g., WaterLevel). | Must correspond to a measurable sensor metric. |
| Operator | nvarchar(10) | No | — | — | CHECK (!=, =, <, <=, >, >=) | Comparison operator used in threshold logic. | Defines logical evaluation behavior. |
| ThresholdValue | decimal(18,6) | No | — | — | — | Threshold value used for rule evaluation. | Precision allows scientific-grade measurement comparisons. |
| WindowMinutes | int | No | — | — | CHECK (> 0) | Rolling evaluation window in minutes. | Must be positive; defines aggregation period. |
| Severity | nvarchar(20) | No | — | — | CHECK (LOW, MEDIUM, HIGH, CRITICAL) | Severity level assigned when rule triggers. | Propagated to ALERT table on trigger. |
| IsEnabled | bit | No | — | 1 | Default constraint | Indicates whether rule is active. | Disabled rules cannot generate alerts. |
| CreatedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp rule was created. | System-generated; immutable. |

# Table: STATION

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| StationID | int | No | PK | — | Primary Key | Unique identifier for each monitoring station. | System-generated; immutable. |
| AreaID | int | No | FK | — | FK → GEOGRAPHIC_AREA(AreaID) | Geographic area where the station is located. | Must reference a valid geographic area. |
| StationCode | nvarchar(50) | No | UQ | — | UNIQUE (StationCode) | Short operational code used to identify the station. | Must be globally unique. |
| StationName | nvarchar(120) | No | — | — | — | Full descriptive name of the monitoring station. | Human-readable identifier. |
| Latitude | decimal(9,6) | No | — | — | CHECK (-90 ≤ Latitude ≤ 90) | Latitude coordinate in decimal degrees. | Required for spatial positioning. |
| Longitude | decimal(9,6) | No | — | — | CHECK (-180 ≤ Longitude ≤ 180) | Longitude coordinate in decimal degrees. | Required for spatial positioning. |
| ElevationM | decimal(10,2) | Yes | — | — | CHECK (ElevationM ≥ 0) | Elevation above sea level in meters. | Optional; must be non-negative if provided. |
| Status | nvarchar(30) | No | — | N'ACTIVE' | CHECK (ACTIVE, INACTIVE, MAINTENANCE) | Operational status of station. | Controls whether station can generate measurements. |
| InstalledAt | datetime2 | Yes | — | — | — | Date the station was installed. | Must be ≤ current UTC date if provided. |

# Table: SENSOR

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SensorID | int | No | PK | — | Primary Key | Unique identifier for each sensor device. | System-generated; immutable. |
| StationID | int | No | FK | — | FK → STATION(StationID) | Station where the sensor is installed. | Sensor must belong to exactly one station. |
| SensorTypeID | int | No | FK | — | FK → SENSOR_TYPE(SensorTypeID) | Type/category of sensor (e.g., WaterLevel). | Must reference a valid sensor type definition. |
| SerialNumber | nvarchar(80) | Yes | — | — | — | Manufacturer or internal serial number. | Optional; should be unique in real deployments (recommended). |
| Status | nvarchar(30) | No | — | N'ACTIVE' | CHECK (ACTIVE, INACTIVE, MAINTENANCE, RETIRED) | Operational state of the sensor. | Inactive/retired sensors should not produce valid measurements. |
| InstalledAt | datetime2 | Yes | — | — | — | Timestamp when sensor was installed. | Must be ≤ current UTC date if provided. |
| LastCalibrationAt | datetime2 | Yes | — | — | — | Timestamp of last calibration. | Must be ≥ InstalledAt if both are present. |

# Table: SENSOR_TYPE

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SensorTypeID | int | No | PK | — | Primary Key | Unique identifier for each sensor type. | System-generated; immutable. |
| TypeName | nvarchar(80) | No | UQ | — | UNIQUE (TypeName) | Name of the sensor type (e.g., WaterLevel, RainfallRate, FlowRate). | Must be globally unique. |
| Unit | nvarchar(32) | Yes | — | — | — | Measurement unit associated with the sensor type (e.g., meters, mm/hr, m³/s). | Should follow standardized unit conventions. |
| Description | nvarchar(255) | Yes | — | — | — | Human-readable explanation of what the sensor type measures. | Optional documentation field. |

# Table: MEASUREMENT

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MeasurementID | bigint | No | PK | — | Primary Key | Unique identifier for each recorded measurement. | System-generated; immutable. |
| StationID | int | No | FK | — | Part of composite FK → SENSOR(SensorID, StationID) | Station where the measurement was recorded. | Must match the station of the referenced sensor. |
| SensorID | int | No | FK | — | Part of composite FK → SENSOR(SensorID, StationID) | Sensor that produced the measurement. | Must belong to the specified StationID. |
| ObservedAt | datetime2 | No | — | — | — | UTC timestamp when measurement was observed. | Cannot be in the future (business rule). |
| Value | decimal(18,6) | No | — | — | — | Numeric measurement value. | Precision supports hydrological and scientific data. |
| Unit | nvarchar(32) | Yes | — | — | — | Unit of the measurement. | Should align with SENSOR_TYPE.Unit; optional redundancy for traceability. |
| QualityFlag | nvarchar(20) | Yes | — | — | CHECK (VALID, ESTIMATED, MISSING, OUTLIER) | Data quality classification. | Supports downstream filtering and model validation. |
| IngestedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when measurement was stored in the system. | Must be ≥ ObservedAt. |

# Table: FLOOD_EVENT

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FloodEventID | bigint | No | PK | — | Primary Key | Unique identifier for a detected flood event. | System-generated; immutable. |
| ModelRunID | bigint | No | FK | — | FK → MODEL_RUN(ModelRunID) (OnDelete: CASCADE) | Model run that produced the detection. | A flood event must be attributable to exactly one model run. |
| AreaID | int | No | FK | — | FK → GEOGRAPHIC_AREA(AreaID) | Geographic area where the event was detected. | Event must belong to a valid area. |
| DetectedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when the event was detected in the system. | System-generated; should not be in the future. |
| EventStart | datetime2 | Yes | — | — | — | Estimated start time of the flood event. | If present, must be ≤ EventEnd. |
| EventEnd | datetime2 | Yes | — | — | — | Estimated end time of the flood event. | If present, must be ≥ EventStart. |
| Confidence | nvarchar(30) | Yes | — | — | — | Model confidence level (e.g., LOW/MEDIUM/HIGH or probabilistic label). | Should be standardized across model versions. |
| Summary | nvarchar(1000) | Yes | — | — | — | Human-readable summary of detection. | Optional but recommended for reporting. |

# Table: EVENT_IMPACT

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ImpactID | bigint | No | PK | — | Primary Key | Unique identifier for a single impact record. | System-generated; immutable. |
| FloodEventID | bigint | No | FK | — | FK → FLOOD_EVENT(FloodEventID) (OnDelete: CASCADE) | Flood event this impact record belongs to. | Must reference an existing flood event. |
| ImpactType | nvarchar(50) | No | — | — | — | Category of impact (e.g., Inundation, Infrastructure, Population, Agriculture). | Should be standardized for reporting consistency. |
| Severity | nvarchar(20) | Yes | — | — | — | Severity label for this specific impact. | If used, should align with system severity domain. |
| EstimatedAreaSqKm | decimal(12,2) | Yes | — | — | CHECK (>= 0) | Estimated affected area in square kilometers. | Must be non-negative if provided. |
| EstimatedPeopleAffected | int | Yes | — | — | CHECK (>= 0) | Estimated number of people affected. | Must be non-negative if provided. |
| Notes | nvarchar(1000) | Yes | — | — | — | Free-text qualitative notes about the impact. | Optional; useful for analyst interpretation and auditing. |

# Table: MODEL_RUN

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ModelRunID | bigint | No | PK | — | Primary Key | Unique identifier for a model execution instance. | System-generated; immutable. |
| ModelName | nvarchar(120) | No | — | — | — | Name of the analytical model executed. | Should be consistent with deployment registry naming. |
| ModelVersion | nvarchar(50) | No | — | — | — | Version identifier of the model used. | Must reflect exact deployed version for reproducibility. |
| RunStartedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when execution began. | System-generated at run start. |
| RunCompletedAt | datetime2 | Yes | — | — | — | Timestamp when execution completed. | Must be ≥ RunStartedAt if present. |
| Status | nvarchar(30) | No | — | — | CHECK (QUEUED, RUNNING, COMPLETED, FAILED) | Execution lifecycle state. | Controls orchestration and downstream processing. |
| ParametersJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Serialized configuration parameters for the run. | Must be valid JSON if provided. |
| Notes | nvarchar(1000) | Yes | — | — | — | Analyst notes or execution comments. | Optional documentation field. |

# Table: MODEL_INPUT

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ModelInputID | bigint | No | PK | — | Primary Key | Unique identifier for a model input record. | System-generated; immutable. |
| ModelRunID | bigint | No | FK | — | FK → MODEL_RUN(ModelRunID) (OnDelete: CASCADE) | The model run this input belongs to. | A model input cannot exist without its model run. |
| InputType | nvarchar(50) | No | — | — | — | Category/type of input (e.g., Measurements, SatelliteRaster, WeatherForecast, DEM). | Should be standardized across runs for reporting. |
| SourceRef | nvarchar(500) | Yes | — | — | — | Reference/location of the input source (URI/path/object key). | Should be resolvable to retrieve the exact dataset used. |
| TimeStart | datetime2 | Yes | — | — | — | Start of time range covered by the input. | Must be ≤ TimeEnd if both are present. |
| TimeEnd | datetime2 | Yes | — | — | — | End of time range covered by the input. | Must be ≥ TimeStart if both are present. |
| InputMetadataJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Structured metadata describing the input (schema, bands, preprocessing, etc.). | Must be valid JSON if provided. |

# Table: MODEL_OUTPUT

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ModelOutputID | bigint | No | PK | — | Primary Key | Unique identifier for a model output record. | System-generated; immutable. |
| ModelRunID | bigint | No | FK | — | FK → MODEL_RUN(ModelRunID) (OnDelete: CASCADE) | The model run that produced this output. | Cannot exist without parent model run. |
| OutputType | nvarchar(50) | No | — | — | — | Type/category of output (e.g., FloodExtentRaster, RiskScoreGrid, ProbabilityMap, ClassificationResult). | Should be standardized for reporting and retrieval. |
| OutputRef | nvarchar(500) | Yes | — | — | — | Reference or storage location of output artifact (URI/path/object key). | Should allow retrieval of exact artifact used in event derivation. |
| OutputMetadataJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Structured metadata describing output properties (resolution, CRS, bands, thresholds). | Must be valid JSON if populated. |
| ProducedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when output artifact was generated. | Must be ≥ ModelRun.RunStartedAt. |

# Table: DATA_SOURCE

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DataSourceID | int | No | PK | — | Primary Key | Unique identifier for a registered data source. | System-generated; immutable. |
| SourceName | nvarchar(120) | No | — | — | — | Human-readable name of the data source. | Should be unique by policy (recommended). |
| SourceType | nvarchar(50) | No | — | — | — | Category of source (e.g., API, FILE, SATELLITE, STREAM, DATABASE). | Should be standardized across the system. |
| Provider | nvarchar(120) | Yes | — | — | — | Organization/vendor providing the data. | Optional; supports provenance and reporting. |
| Endpoint | nvarchar(500) | Yes | — | — | — | Connection endpoint or resource locator (URL/path/bucket). | Must be valid and reachable for active sources. |
| AuthMethod | nvarchar(50) | Yes | — | — | — | Authentication method (e.g., NONE, API_KEY, OAUTH, IAM_ROLE). | Must align with operational integration pattern. |
| IsActive | bit | No | — | 1 | Default constraint | Indicates whether source is enabled for ingestion. | Inactive sources should not schedule new ingest jobs. |
| CreatedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when the source was registered. | System-generated; immutable. |

# Table: INGEST_JOB

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| IngestJobID | int | No | PK | — | Primary Key | Unique identifier for an ingestion job execution. | System-generated; immutable. |
| DataSourceID | int | No | FK | — | FK → DATA_SOURCE(DataSourceID) | Data source from which ingestion was performed. | Must reference an active data source. |
| JobType | nvarchar(50) | No | — | — | — | Type of ingestion (e.g., FULL_LOAD, INCREMENTAL, REALTIME, BACKFILL). | Should follow standardized operational taxonomy. |
| Status | nvarchar(30) | No | — | — | CHECK (QUEUED, RUNNING, COMPLETED, FAILED) | Current lifecycle state of ingestion job. | Controls operational monitoring and retry logic. |
| StartedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when ingestion began. | System-generated at job start. |
| CompletedAt | datetime2 | Yes | — | — | — | Timestamp when ingestion finished. | Must be ≥ StartedAt if populated. |
| ParametersJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Configuration parameters used for ingestion (filters, offsets, date ranges). | Must be valid JSON if provided. |
| OutputLocation | nvarchar(500) | Yes | — | — | — | Storage location of processed/ingested data. | Should allow retrieval of ingest artifacts. |

# Table: INGEST_ERROR

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| IngestErrorID | int | No | PK | — | Primary Key | Unique identifier for an ingestion error record. | System-generated; immutable. |
| IngestJobID | int | No | FK | — | FK → INGEST_JOB(IngestJobID) (OnDelete: CASCADE) | Ingestion job during which the error occurred. | Cannot exist without a parent ingest job. |
| ErrorCode | nvarchar(50) | Yes | — | — | — | Optional short code for error categorization. | Should be standardized where possible. |
| ErrorMessage | nvarchar(4000) | No | — | — | — | Full error message describing the failure. | Required for troubleshooting and audit. |
| OccurredAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when the error occurred. | System-generated at insert time. |
| ContextJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Structured diagnostic context (payload snippet, stack trace, request metadata). | Must be valid JSON if provided. |

# Table: NOTIFICATION

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| NotificationID | bigint | No | PK | — | Primary Key | Unique identifier for a notification attempt. | System-generated; immutable. |
| AlertID | bigint | No | FK | — | FK → ALERT(AlertID) (OnDelete: CASCADE) | Alert that triggered this notification. | Cannot exist without a valid alert. |
| UserID | int | No | FK | — | FK → USER(UserID) | Recipient of the notification. | Must reference an existing user. |
| Channel | nvarchar(20) | No | — | — | CHECK (EMAIL, SMS, PUSH, WEBHOOK) | Delivery channel used to send notification. | Must match supported communication mechanisms. |
| Destination | nvarchar(256) | No | — | — | — | Target address (email address, phone number, webhook URL, etc.). | Must be valid for selected channel. |
| Status | nvarchar(30) | No | — | — | CHECK (QUEUED, SENT, FAILED) | Current delivery state of notification. | Reflects message delivery lifecycle. |
| QueuedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when notification was queued. | System-generated at creation. |
| SentAt | datetime2 | Yes | — | — | — | Timestamp when notification was sent. | Must be ≥ QueuedAt if populated. |
| ProviderMessageID | nvarchar(128) | Yes | — | — | — | External provider message identifier. | Used for reconciliation with messaging provider logs. |

# Table: ROLE

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| RoleID | int | No | PK | — | Primary Key | Unique identifier for a role. | System-generated; immutable. |
| RoleName | nvarchar(50) | No | UQ | — | UNIQUE (RoleName) | Name of the role (e.g., ADMIN, ANALYST, OPERATOR, VIEWER). | Must be globally unique. |
| RoleDescription | nvarchar(255) | Yes | — | — | — | Human-readable explanation of permissions associated with role. | Optional documentation field. |
| CreatedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when role was created. | System-generated; immutable. |

# Table: USER

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| UserID | int | No | PK | — | Primary Key | Unique identifier for a system user. | System-generated; immutable. |
| RoleID | int | No | FK | — | FK → ROLE(RoleID) | Role assigned to the user. | Must reference a valid role. |
| Email | nvarchar(320) | No | UQ | — | UNIQUE (Email) | User’s email address used for login and notifications. | Must be globally unique. |
| DisplayName | nvarchar(120) | No | — | — | — | Human-readable name shown in system interfaces. | Required for operational clarity. |
| PasswordHash | varbinary(256) | No | — | — | — | Hashed password value. | Must never store plaintext credentials. |
| IsActive | bit | No | — | 1 | Default constraint | Indicates whether user account is active. | Inactive users cannot authenticate. |
| CreatedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when user account was created. | System-generated; immutable. |
| LastLoginAt | datetime2 | Yes | — | — | — | Timestamp of most recent successful login. | Updated upon authentication. |

# Table: USER_AREA_SUBSCRIPTION

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SubscriptionID | int | No | PK | — | Primary Key | Unique identifier for a subscription record. | System-generated; immutable. |
| UserID | int | No | FK | — | FK → USER(UserID) (OnDelete: CASCADE) | User who owns this subscription. | Cannot exist without a valid user. |
| AreaID | int | No | FK | — | FK → GEOGRAPHIC_AREA(AreaID) | Geographic area being subscribed to. | Must reference an existing area. |
| PreferenceJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Subscription configuration (channels, thresholds, quiet hours, etc.). | Must be valid JSON if provided. |
| IsActive | bit | No | — | 1 | Default constraint | Indicates whether subscription is active. | Inactive subscriptions do not generate notifications. |
| CreatedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when subscription was created. | System-generated; immutable. |

# Table: USER_SESSION

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SessionID | int | No | PK | — | Primary Key | Unique identifier for a user session record. | System-generated; immutable. |
| UserID | int | No | FK | — | FK → USER(UserID) (OnDelete: CASCADE) | User who owns this session. | Cannot exist without a valid user. |
| RefreshTokenHash | varbinary(256) | No | — | — | — | Hashed refresh token associated with the session. | Never store raw refresh tokens. Must be cryptographically derived. |
| IssuedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when session was issued. | System-generated at creation. |
| ExpiresAt | datetime2 | No | — | — | — | Timestamp when session expires. | Must be > IssuedAt. |
| RevokedAt | datetime2 | Yes | — | — | — | Timestamp when session was revoked. | If populated, must be ≥ IssuedAt and ≤ ExpiresAt. |
| ClientIP | nvarchar(45) | Yes | — | — | — | IP address observed at session issuance/use (IPv4/IPv6). | Optional but recommended for security auditing. |
| UserAgent | nvarchar(256) | Yes | — | — | — | Client user-agent string. | Optional; supports fraud detection and troubleshooting. |

# Table: AUDIT_LOG

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AuditLogID | int | No | PK | — | Primary Key | Unique identifier for an audit log record. | System-generated; immutable. |
| UserID | int | No | FK | — | FK → USER(UserID) | User who performed the action. | Must reference a valid user. |
| ActionType | nvarchar(50) | No | — | — | — | Type of action performed (e.g., CREATE, UPDATE, DELETE, LOGIN, LOGOUT, ACK_ALERT). | Should be standardized for consistent reporting. |
| EntityType | nvarchar(50) | No | — | — | — | Entity/table affected (e.g., ALERT, STATION, USER, MODEL_RUN). | Should align with system entity naming. |
| EntityID | nvarchar(64) | No | — | — | — | Identifier of the entity instance affected. | Stored as text to support mixed key types across entities. |
| MetadataJson | nvarchar(MAX) | Yes | — | — | CHECK ISJSON() | Structured audit metadata (fields changed, request ID, before/after snapshots). | Must be valid JSON if provided. |
| OccurredAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when the action occurred. | System-generated at insert time. |
| SourceIP | nvarchar(45) | Yes | — | — | — | IP address from which action originated. | Optional but recommended; supports investigations. |

# Table: GEOGRAPHIC_AREA

| Column Name | Data Type | Nullable | Key Type | Default | Constraints | Description | Business Rules |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AreaID | int | No | PK | — | Primary Key | Unique identifier for a geographic area. | System-generated; immutable. |
| AreaName | nvarchar(120) | No | — | — | — | Human-readable name of the area (e.g., “Dartmouth Test Area”). | Should be unique by policy (recommended). |
| AreaType | nvarchar(50) | No | — | — | — | Classification of area (e.g., CITY, REGION, BASIN, WATERSHED, ADMIN). | Should be standardized for consistent use. |
| GeometryWKT | nvarchar(MAX) | Yes | — | — | — | Area geometry in Well-Known Text (WKT) format. | Optional; must be valid WKT by policy if stored. |
| MinLat | decimal(9,6) | Yes | — | — | CHECK (-90 ≤ MinLat ≤ 90) | Minimum latitude of area bounding box. | If bounding box fields are used, all should be present. |
| MinLon | decimal(9,6) | Yes | — | — | CHECK (-180 ≤ MinLon ≤ 180) | Minimum longitude of area bounding box. | Must be valid geographic longitude. |
| MaxLat | decimal(9,6) | Yes | — | — | CHECK (-90 ≤ MaxLat ≤ 90) | Maximum latitude of area bounding box. | Must be ≥ MinLat if both present. |
| MaxLon | decimal(9,6) | Yes | — | — | CHECK (-180 ≤ MaxLon ≤ 180) | Maximum longitude of area bounding box. | Must be ≥ MinLon if both present. |
| CreatedAt | datetime2 | No | — | sysutcdatetime() | Default constraint | Timestamp when the area record was created. | System-generated; immutable. |